中华人民共和国行业标准

纤维石膏空心大板复合墙体结构应用

技术规程

Technical specification for composite wall structures with glass fiber reinforced gypsum panels

JGJ-***-2009

2009  北京

前   言

根据住房和城乡建设部建标【2008】102号文《关于印发<2008年工程建设标准规范制订、修订计划（第一批）>的通知》要求，由山东省建设建工（集团）有限责任公司、山东建筑大学共同编制国家行业标准《纤维石膏空心大板复合墙体应用技术规程》。

本规程主要对纤维石膏空心大板构件的物理、力学性能提出了要求，对该结构的承载力和抗震设计做出了规定，对工程施工、质量控制和工程验收也做出了相应规定。

本规程共分八章，包括：总则、 术语与符号、材料、基本设计规定、结构设计、构造要求、施工、验收。

本规程在执行过程中，请各单位注意总结经验，积累资料，随时将有关意见和建议寄送至山东建筑大学土木工程学院（地址：济南市临港开发区凤鸣路，邮编：250101， 联系电话：0531--86363032），以供今后修订时参考。

主编单位：    山东省建设建工（集团）有限责任公司

山东建筑大学

参编单位：    山东建工股份有限公司

山东省建设建工（集团）工程设计有限公司

山东建工科发新型建材有限公司

哈尔滨工业大学

香港城市大学

济南市工程质量与安全生产监督站

烟建集团有限公司

阿贝斯（RBS）速成建筑体系天津有限公司

本规程主要起草人：张 鑫  段辉文  赵考重  唐岱新  黄启政  田 杰 祖志安

陶敬生  王永东  王国富  刘林生  黄兴桥  刘秋深  吴宇飞  梁以德  孙国春  文爱武  沈彩华  崔 霞

目    次

1 总  则……………………………………………………………………………………1

2 术语、符号………………………………………………………………………………2

2.1主要术语…………………………………………………………………………2

2.2主要符号…………………………………………………………………………2

3 材  料……………………………………………………………………………………4

3.1纤维石膏空心大板 ………………………………………………………………4

3.2混凝土及钢筋 ……………………………………………………………………5

4 基本设计规定……………………………………………………………………………6

4.1一般规定 …………………………………………………………………………6

4.2结构布置 …………………………………………………………………………6

4.3建筑节能设计 ……………………………………………………………………7

4.4荷载与地震作用 …………………………………………………………………8

5 结构设计…………………………………………………………………………………10

5.1一般规定 …………………………………………………………………………10

5.2构件承载力计算 …………………………………………………………………11

6 构造要求…………………………………………………………………………………19

6.1一般规定 …………………………………………………………………………19

6.2墙体构造 …………………………………………………………………………20

7施工 ………………………………………………………………………………………25

7.1一般规定 …………………………………………………………………………25

7.2墙体工程主要施工工序 …………………………………………………………25

7.3墙板安装施工 ……………………………………………………………………27

7.4钢筋施工 …………………………………………………………………………27

7.5模板施工 …………………………………………………………………………27

7.6普通混凝土施工 …………………………………………………………………28

7.7自密实混凝土施工 ………………………………………………………………28

8 验收………………………………………………………………………………………30

8.1一般规定…………………………………………………………………………30

8.2墙板工程…………………………………………………………………………31

8.3钢筋工程…………………………………………………………………………32

8.4模板工程…………………………………………………………………………34

8.5普通混凝土工程 …………………………………………………………………36

8.6自密实混凝土工程 ………………………………………………………………38

8.7 工程验收  ………………………………………………………………………39

附录A  纤维石膏空心大板示意图 ………………………………………………………41

附录B  各分项工程检验批验收记录表 …………………………………………………42

本规程用词说明 ……………………………………………………………………………43

引用标准名录 ………………………………………………………………………………44

条文说明 ……………………………………………………………………………………45

CATALOGUE

1. General principles

2. Terms & symbols

2.1 Main Terms

2.2 Main Symbols

3. Materials

3.1 Big hollow fiberglass plaster panel

3.2 Concrete and reinforcement steel

4. Basic designing regulations

4.1 Common regulations

4.2 Structure layout

4.3 Design of construction energy-saving

4.4 Load & earthquake effect

5. Structure designing

5.1 Common regulations

5.2 Calculation of component load bearing capacity

6. Construction structure requirements

6.1 Common regulations

6.2 Construction structure of wall

7. Construction

7.1 Common regulations

7.2 Main construction working procedures of wall

7.3 Installation construction of panels

7.4 Construction of reinforcement steels

7.5 Construction of template

7.6 Construction of common concrete

7.7 Construction of self-compacting concrete

8. Check & examination

8.1 Common regulations

8.2 Panel project

8.3 Reinforcement project

8.4 Template project

8.5 Common concrete project

8.6 Project of self-compacting concrete

8.7 Check & examination of project

Appendix A: Sketch of big hollow fiberglass plaster panel

Appendix B: Check & examination recording form of each sub-divisional project regarding checked patch

Using word description of regarding this technical regulation

Quoted standard directories

Description of terms